## Lift
Test Scenario ID | Test Scenario positive | Test scenario Negative
1 | Verify the type of Lift whether it is Electric Traction(MRL), Modular, or Hydraulic | Check the door of lift is operating automtically or manually
2 | Verify the material of inner and outer structure made of | Check if the buttons or switches are working properly
3 | Verify the handling capacity of lift | Check the alignment of lift when it stops at any floor is proper or not
4 | Verify the size of lift | Check the space in the lift it should not be so conjusted
5 | Verify the weight of the lift | Check if the lift is overloaded it should not move and should alarm or give warning
6 | Verify the door type is it operated manually or automatically | Check the capacity of lift alarms when there are less person or less capacity from the allowed capacity
7 | Verify the buttons shows correct numbers | Check the door gets completely open and close or not
8 | Verify the button works properly | Check the fan and lights inside the lift are working or not
9 | Verify the inside screen working properly and showing correct details | Check if the lift gets stopped suddenly, there is emergency button working or not
10 | Verify the outside screen on each floors working properly and showing correct details | Check if the lift gets stopped suddenly, is there a phone working or not
11 | Verify the emergency button working properly | Check if the stop button is working properly or not
12 | Verify the fan and light are working properly | Check if the lift is jerking when its moving
13 | Verify the vantilation in lift | Check if the lift is vantilated or not and the person should not get suffocated in it
14 | Verify the surface of floor is even | Check the sound system or speaker is working properly and passing the correct info
15 | Verify the wooden door is opening and closing pproperly | Check the open and close button symbols are understandable and should work properly
16 | Verify the glass door quality | Check when the lift is moving try to press the open button, it should not open the lift while moving
17 | Verify the grill door opening and closing properly | Check if the lift is user friendly for a blind person to operate
18 | Verify the alignment of lift and floor when it stops | Check if the lift have the barrail buttons which are user friendly for the visually impaired person
19 | Verify the lights along with buttons working properly | Check if there are alarm sensors working to detect the smoke and fire
20 | Verify the sensor of automatic door stops while closing due to any obstackles | Check if the lift makes any noise when moving
21 | Verify the lift can be operated manually if it stops due to power cutoff | Check if the light and fan can be automatically turned off when there is no one in the lift
22 | Verify if the lift is user friendly for handicap person | Check when the door closes automatically, if any obstacle comes in between the door it should not get close and should get open automatically
23 |  | Check when there is a power cutoff the lift gets stopped immediately or on the nearest floor
24 |  | Check when there is a power cutoff the emergency button and phone should be operated
25 |  | Check if the screen inside the lift and on the floor shows the correct and similar information
26 |  | Check if the lift is passing any electric current
27 |  | Check if the lift have a glassdoor it should not be break easily
28 |  | Check if the door is wooden it should not get swell up during monsoon
29 |  | Check the weight of the lift if it is capable to carry the average weight
30 |  | Check the wiring outside the lift should be at distance